## Slide 1: TECAN ↔ ECHO Tutorial
Jason Lu (jasonlu6@bu.edu)

## Slide 2: Table of Contents
Github Wiki:
  Introduction
  Execute on Command Line
  Errors + Warning Email Notification
Demo:
  TECAN to ECHO conversion:
    Usage
    TECAN Input File with no error
    TECAN Input File with error
  ECHO to TECAN conversion :
    Usage
    ECHO Input File with no error
    ECHO Input File with error
JoVe Article and Final Results

## Slide 3: Github Wiki Link
https://github.com/luminator123/TECAN-ECHO-Test-Results/wiki
Notes: Make sure all of the deliverables compile and do not fall into serious error / cause delays in presentation

## Slide 4: Demo: TECAN to ECHO
$ python tecan_converter.py
$ python tecan_converter.py demo/Tecan-Test1.gwl out.csv
$ python tecan_converter.py demo/Tecan-Error.txt test1.csv
Email notification
Notes: Make sure all of the deliverables compile and do not fall into serious error / cause delays in presentation

## Slide 5: Demo: ECHO to TECAN
$ python echo_converter.py
$ python echo_converter.py demo/Echo-Test1.csv out.gwl
$ python echo_converter.py demo/Echo-Error.csv test1.csv
Email notification
Notes: Make sure all of the deliverables compile and do not fall into serious error / cause delays in presentation

## Slide 6: JoVe article / Final Results
$ python tecan_converter.py demo/Assembly_final_Tecan.gwl demo/Assembly_final_Echo.csv
$ python echo_converter.py demo/Assembly_final_Echo.csv final_tecan.gwl
Note:
JoVe article is about 700 commands in total. It takes around 5 minutes to convert. So, the conversion rate is approximately 150 commands / minute.
Notes: Make sure all of the deliverables compile and do not fall into serious error / cause delays in presentation

## Slide 7: Thank You!